Sequencing samples submission

# General requirements

Please submit sequencing samples according to the instructions below.

* Email me a gel pic with the indicated bands and a positive and negative control if possible
* I require a labelled tube for the PCR product or plasmid ( Label plasmid tube with conc. in ng/µL) and a labelled tube for the forward and/or reverse primer (Do not combine primers) (Primer conc. should be 10µM)
* If you are setting up your own sequencing (ONLY for PCR) pre-mix please use 1.5µL PCR, 1.5µL single Primer (At concentration of 10µM) and 7µL water for a total of 10µL.
* Please clearly indicate a unique name for each sample and clear instruction if various primers are to be used
* Use the freezer in 310B marked ‘Sequencing samples’ to transfer your samples over to me, please email me when you leave samples.

If you have any questions please feel free to contact me, preferably by email on [parkera@mail.montclair.edu](mailto:parkera@mail.montclair.edu)

My office is Science Hall room 204 and my phone # is 973-655-3489