## 1st floor
Room | Equipment Type | Manufacturer | Product Name
126 | Water Bath | Precision Scientific | Model 83
| Incubator | Fisher Scienctific | IsoTemp 6500
| Fridge /Freezer | Hotpoint
| Fridge /Freezer | GE | TBX18JABQRWW
| Microscopes (x28) | AO/Reichert-Jung | monocular
131 | Fridge /Freezer | GE | GTS18FBSARWW
| Projector | EIKI | 3990 BPA
| Microscopes (x28) | AO/Reichert-Jung | monocular
| Microscope | Leica | CME
131B | Incubator | Fisher Scienctific
| PhotoSpectrometer | Milton Roy | Spectronic Educator
| PhotoSpectrometer | Aminco Bowman | Series 2
| Balance | Mettler | P163 (160g Max)

## 2nd floor
Room | Equipment Type | Manufacturer | Product Name/ Notes
204 | Genetic Analyzer | Applied Biosystems | 3130GA, sequencing, fragment analysis (Microsatellite, AFLP, SNP)
210 | Lamp (x8) | White Lights | 40w Bulbs
| Fridge/Freezer | GE | GTS18TBSAWW
| Microscope | Leica (x23) | CME
| Microscope | Accuscope | 3000series
| Microscope | Leica (x8) | EZ4
| Growth Chamber | Percival | E36L (Humidity, light, temp)
| Balance | Sartorius (x2) | M-Prove 410g Max
| Water Bath (Dual) | Precision Scientific | 260
| Autoclave (Small) | Ritter | Sybron Steam Sterilizer
211 | Balance | Sartorius | 5025 (2Kg Max)
| Microscope (Arm) | American Optical
| Microscope | Leica (x14) | CME
| Microscope | Leica (x6) | EZ4
| Microscope | Zeiss (x6) | Various
| Microscope | Various (x8) | Dissect scope
| Oven | Blue M | Stail Therm (0-300c/550f)
| Growth Chamber | Percival | E36L (Humidity, light, temp)
215 | Microscope | American Optical | Trinocular, filter
| Heating block | Fisher | 25ml
| Microscope | Leica (x4) | ATC2000
| Microscope | Bausch & Lomb (x16) | Various
| Microscope | Cambridge Scientific | Galen III
| Projecrtor (x2) | EIKI | 3990BPA
215B | Poster Printer | HP | Color hpdesignjet 500ps
| Treadmill | Pacemaster | Pacemaster Proclub LT
216 | Microwave | GE
| Water Bath (Dual) | Precision Scientific | 280 Series
| Block Heater | American Scientific | 1.5ml
| Fridge/Freezer | Whirlpool | W8TXNGFWQOO
| Spectrophotometer | Turner | 340
| Spectrophotometer | Milton Roy
| Balance | Ohaus | Scout Pro (200g max)
| Spectrophotometer | Milton Roy (x4) | 20D
| Spectrophotometer | Thermo Specronic (x6) | Genesys 20
| UV Imaging Box | Invitrogen | Safe Imager 2.0
| Gel Box (x6) | Fisher Biotech | FB-SB-710
| Gel Box Power (x4) | EC | EC 105
| Balance | Sartorius | M-Prove 410g Max
| Microscopes | Leica (x20) | CME
| Microscopes | Zeiss (x7) | 872E
| Incubator | Lab Line | Imperial II
| Centrifuge | LabNet(Hermle) | z400k 50ml/1.5ml
217 | Ice Maker | Hoshizaki | F-330BAH
| Freezer | Fisher
| Goggle Decontaminator | Flinn Scientific
| Loop Sterilizer | McCormic Scientific | Bacticinerator IV
| Balance | Sartorius | 1601A (110g Max)
| Balance | Denver | XS-410 (410g Max)
| Mini Centrifuge | USA Scientific | 6,000rpm (0.2ml)
| Hotplate Stirrer | Corning | C-420
| Hotplate Stirrer | Corning | PC-351
| Dishwasher | GE | Nautilus

## 3rd floor
Room | Equipment Type | Manufacturer | Product Name/ Notes
310 | Incubator (37c) | GCA/Precision Scientific | Model 6M
| Incubator (37c) | Fisher Scientific | Isotemp Incubator 637D
| Incubator (55c) | Fisher Scientific | Isotemp Incubator 200series
| Centrifuge (12Test tubes) | Fisher Scientific | Centrific 225
| Microscope (x28) | Leica | ATC 200 (x14) CME (x14)
| Microwave | Panasonic | Inverter (1250w)
| Water Bath (Dual) | Precision Scientific | 280 series
| Spectrophotometer (x8) | Thermo Fisher | Genesys 20 4001/4
310A | Dishwasher | Getinge | 8666
| Autoclave | Getinge | 122
|  | Getinge | 2522
| Gyrotory Water Bath Shaker | New Brunswick Scientific | G76
310B | Centrifuge (Floor model) | Sorvall | RC-3B Refridgerated (1000ml Max 8000rpm)
| Centrifuge (Floor model) | Beckman Coulter | J2-HS Refridgerated (50ml/500ml 22,000rpm)
| Freezer (-80c) | So-Low | U85-18D (With CO2 backup)
| Fridge/Freezer | Fridgidaire | LFTR1814LW9
| Fridge/Freezer | GE | TBX18BKB
| Incubator Shaker | New Brunswick Scientific | Innova 4300
| Freezer -80 | Thermo Fisher | ULT-390-5-A34 REVCO
| Ice Maker | Hoshizaki | F-330BAH
| Heated Plate mixer (96well) | Eppendorf | Thermomixer R
| Vortex Mixer | Fisher Scientific | Vortex Genie 2
| Sonicator | Misonix | Microson Ultrasonic XL2000
| Centrifuge (Benchtop) | Labnet (Hermle) | Z400K (Microplate, 50ml, 250ml, 15ml)
| Automated Media System | Intergra | Mediaclave, Mediajet 90mm plates
| Homogenizer | Kinematica | PT10/35
311 | UV Imaging Box | Invitrogen | Safe Imager 2.0
| Thermal Cycler (Dual 96) | Applied Biosystems | GeneAmp 9700
| Thermal Cycler | Labnet | Multigene II
| Windows 7 Computer | Dell | Optiplex 780
| Microwave | Sharp | Carosel
| Heating Block (1.5ml) | GeneMate | D2100
| Centrifuge (Benchtop) | Eppendorf | 5415C (1.5ml)
| Centrifuge (12Test tubes) | Fisher Scientific | Centrific 225
| Water Bath | Thermo Fisher | 280Series
| Growth Chamber (Fly) | Percival | E30B
| Growth Chamber (Fly) | Percival | I30PL
| Water Bath (70c) | Precision Scientific | 260model
| Freezer (-20c) | Thermo Fisher | Revco REF2117A14
| Microscopes x35 | Leica (x21) | CME (x21), Dissecting (x14)
313 | Incubator Shaker (With light) | New Brunswick Scientific | 4340
| Flourescent Imaging Microscope with 10MP camera for pics and video in light and fluores | Zeiss | AxioSkop (Can Illumiate dyes; Texas Red, GFP, Live/dead, FITC, DAPI)
| Real Time PCR System | Applied Biosystems | StepOnePlus
316 | Incubator (30c) | Fisher Scientific | IsoTemp 6500
| Incubator (37c) | Fisher Scientific | IsoTemp 637D
| Water Bath (55c) | Thermo Fisher | Haake SWB25
| Water Bath (57c) | Thermo Fisher | Haake SWB25
| Clean Bench | Labconco | 3612500
| Freezer (-20c) | Woods | V20NAB01
| Fridge (Double door) | Fisher Scientific | 148G2
| Shaking Incubator | New Brunswick Scientific | Innova 4000
| Balance 4Decimal place | Sartorius (x2) | M-Power (210g max)
| Balance 4Decimal place | Mettler Toledo | AL204 (210g Max)
| Balance 4Decimal place | Mettler Toledo | AB104 (101g Max)
| Hotplate Stirrer | VWR | 375
| Centrifuge (Benchtop) | Eppendorf | 5417C (20,800g max, 1.5ml/0.2ml, 45° angle)
| Centrifuge (Benchtop) | Eppendorf | 5415c (14,000rpm, 1.5ml/0.2ml, 45° angle)
| Thermal Cycler | Applied Biosystems | 9700 Geneamp
| Thermal Cycler | 5Prime | 5PrimeG/02
| Thermal Cycler | Applied Biosystems | Veriti
| Light Box | Labtronix | n/a
| UV Imaging Box | Fisher Scientific | 614A
| Microwave | Panasonic | Inverter (1250w)
| Hybridization oven | Bellco | Autoblot oven/rotor
| Rocker Platform | Bellco | 7740-1101
| Rocker Platform | Bellco | 7740-1101
| Titer plate shaker | Lab Line | 4625
| Luminometer | Turner Designs | TD2020
323 | Gel Imaging Station | UVP | BioDocIt 210 (SYBR green and Ethidium Bromide)
| Gel Imaging Station | Kodak | Gel Logic 100 (SYBR green and Ethidium Bromide)

## Storage
Room | Equipment Type | Manufacturer | Product Name/ Notes
B150 | Projector | EIKI | Overhead Projector
| Power Supply | LKB Bromma | Adjustable current/volt with timer for shutdown
| Analog pH meter | Orion research | Model 301
| Electroporator | Invitrogen | Electroporator II adjust volt/reistance
| Electrophoretic Transfer system | E-C apparatus | Electroblot
| iMac x2 | Apple | 512MB ram (2002 manufact.)
| Microscope Camera | Zeiss | AxioCam (Runs on Windows 2000, 256MB)
| Power Supply | Bio-Rad | Model 250/2.5 adjust v/amp
| Micro injection tube prep | Narishige | Model PB-7, heat adjust
| Microfractionator | Gilson | Detector Missing
| Colony counter | Lab Aids | Light under divided glass squares
| Water bath | National | Model 210
| Centrifuge | Eppendorf | Model 5413, Horizontal 1.5ml tubes, 11.5k RPM
| TV/VCR/Laser disc | Mitsubishi | VCR=VCA575
| Mac (No monitor) x2 | Apple | 512MB ram (2000 manufact.)
| Water heater/pum | Brinkman | RM6 0-120
| iMac | Apple | 128MB ram (Manufact. 1999)
| Pump controller | Pharmacia | Pharmacia LKB controller LCC 500 plus
| Spectrophotometer | Beckman | 7 Cuvette capacity, V. large approx 3' by 2'
| Incubator | Isotemp | V. old possible 250v, temp control by dial
| Fridge | Kelvinator | Lockable, V.old
| Water Bath | Precision | Model 83, Dial (1-9) control