## Sheet1
Initial setup and denature
Using a microplate and the table below plan sample # in well #
Add Pre-mix; Size Standard (Rox/Liz) & HiDi formamide to relevant 1 or 4uL product conc.
Cover with thermal sealing film
Centrifuge briefly at 1000rpm
Denature at 95c for 4mins in thermal cycler
Immeadiately place on ice for around 5min
Centrifuge briefly at 1000rpm
| Volume (uL) | Volume (uL)
Product | 1 | 4
Size Standard | 0.5 | 0.5
HiDi | 10.5 | 7.5
Total | 12 | 12
Pre-Mix
Size Std (For multiple) | 17.6 | 17.6
HiDi (For multiple) | 369.6 | 264
# of samples | 32 | 32
Plate Layout
A
B
C
D
E
F
G
H
Clean up of Fragment Analysis Reactions- EdgeBio Spin Columns
Centrifuge spin columns for 3min @ 850g
Transfer the spin cartridge to the new 1.5ml eppendorf tube and label with well #
Pipette entire well contents into the corresponding labelled cartridge & tube
Important Note; ensure fluid runs into gel in cartridge without touching tip
Close caps and centrifuge for 3min @ 850g
Disgard cartridge and retain elute
Pipette entire elute from 1.5ml eppendorf into new well on microplate, noting well/sample #
Cover microplate with film and centrifuge up to 1000rpm
NB. Password for computer and software is 3130User
Loading plate onto 3130GA
Change buffer and water reserviors Buffer=5ml (10x buffer) + 45ml sterile water
Centrifuge plate if required
Place septa over top of plate and transfer to plate retainer
Press 'Tray' button on 3130GA and wait for tray to stop at front then open doors
CAREFULLY load plate onto tray ensuring correct orientation
Ensure there are no large bubbles in array port (Right of top block)
Check that there is enough polymer for all samples
Close doors and use protocol to input plate/sample details
Inputting Sample data for analysis
Use foundation data collection program
Under 'ga 3130' header click plate manager, click 'new plate'
Input the information below
Box input header | Input | Notes
Name | The plate name |  | e.g. monsen6-11-13
(The plate name)
Application | SequencingAnalysis |  | For sequencing samples
(Type of experiment) | or
| Genemapper-Generic |  | for Fragment analysis and everything else
Plate type | 96 |  | always
Owner | initials |  | e.g. AP
Operator | initials |  | e.g. AP
Click OK
Results Group 1 | Seq_install |  | sequencing
(Location of run data) | Fragment_analysis_AR |  | Fragment analysis using ROX Size Standard
| Fragment_analysis_G5 |  | Fragment analysis using LIZ Size Standard
| TestGroup1 |  | Campanella
Instrument Protocol 1 | Seq_BDv3_install |  | sequencing
(How samples will be run) | frag_Analysis_AR |  | Fragment analysis using ROX Size Standard
| G5_samples |  | Fragment analysis using LIZ Size Standard
Analysis Protocol 1 | 3130 Pop7_BDTv3_KB-Deno |  | Sequencing
(Only for Seq) |  |  | (Use with Big Dye ver3)
Click OK
click 'plate view'
search for plate by exact name/find all list
highlight plate name and click on orange plate on rht (should turn grn)
click on 'plate view'
ensure all runs are correct and in correct places
click green arrow to run
Analysis and adjustment
If sample peaks are too small add more product and reduce HiDi to maintain 12uL volume
If Size Std peaks are too large reduce amount but add HiDi to maintain 12uL volume
Keep adjusting to get a good peak amplification