|  |  |  |
| --- | --- | --- |
| **ROOM** | **EQUIPMENT** | **NOTES** |
| **FIRST FLOOR** |  |  |
| 1ST FLOOR HALLWAY | -80 FREEZER | OUTSIDE ROOM 140 |
| ROOM 140 | -80 FREEZER |  |
| ROOM 127 | FISH TANK |  |
| ROOM 127 | -80 FREEZER |  |
| ROOM 127 | (2) -20 FREEZERS |  |
| ROOM 127 | (2) REFRIGERATORS |  |
| ROOM 127 | (2) INCUBATORS |  |
| ROOM 136 | ENTIRE BACK WALL | ONLY 115V |
|  |  |  |
| **SECOND FLOOR** |  |  |
| ROOM 203 | REFRIGERATOR |  |
| 2nd FLOOR HALLWAY | NONE | OUTSIDE 208 |
| ROOM 210 | NONE | BEHIND GROWTH CHAMBER |
| ROOM 215 | COLD ROOM |  |
| ROOM 215A | FRIDGE/FREEZER | EXPLOSION PROOF |
| ROOM 216 | FRIDGE/FREEZER |  |
| ROOM 217 | ENTIRE ROOM |  |
| ROOM 218 | LIVE ANIMAL ROOM | ALL RECEPTACLES AND LIGHTING |
|  |  |  |
| **THIRD FLOOR** |  |  |
| ROOM 303 | FRIDGE/FREEZER | ONLY 1 FRIDGE NEAR DOOR |
| ROOM 307 | CO2 INCUBATOR |  |
| ROOM 307 | -20 FREEZER |  |
| ROOM 309 | CO2 INCUBATOR | ONLY RIGHT INCUBATOR |
| ROOM 309 | 1 LIGHT INCUBATOR |  |
| ROOM 310 | (2) FRIDGE/FREEZER |  |
| ROOM 310B | (2) -80 FREEZERS |  |
| ROOM 310B | (2) FRIDGE/FREEZER |  |
| ROOM 312 | COLD ROOM |  |
| ROOM 315 | UNDER BENCH REFRIGERATOR |  |
| ROOM 316 | ISO TEMP REFRIGERATOR | POWER SOCKETS INSIDE FRIDGE |
| ROOM 316 | FREEZER |  |
| ROOM 324 | UNDER BENCH REFRIGERATOR |  |